## Sheet1
extended shift report
Date | Follow up needed Y/N | requested by: | Work Order # | Contacted by: | Location: | Problem: | Responded By: | comments: | Contact/customer you communicated resolution to | Open or Closed
2021-11-04 | n | resident | 22W012653 | famis | GM-I501 | no power in the bedroom | M10 | reset breaker | resident | close
| n | resident | 22W012647 | famis | GM-L303 | dripping sink when the dishwasher is in use | M10 | unclogged dishwasher air gap | resident | close
| n | resident | 22W012596 | famis | GM-I307 | bedroom light is out | M10 | replaced bed d light | resident | close
| n | resident | 22W012621 | famis | GM-I407 | toilet is clogged | M10 | augured toilet unclogged | resident | close
| n | resident | 22W012646 | famis | GM-F504 | leak under kitchen sink | M10 | tightened supply lines and faucet base | resident | close
| n | resident | 22W012623 | famis | FA-01M-A B | shower is clogged | M10 | unclogged drainline removed clog | resident | close
| n | resident | 22W012655 | famis | FA-04J-KIT | leak in shower | M10 | secondary ac leak over shower | resident | close
| n | resident | 22W012643 | famis | FA-04J-BAT | no presure in kitchen faucet | M10 | replaced aerator | resident | close
| y | staff | 22W012470 | famis | CDC-S122 | the freezer in our kitchen no longer freezes below 0. Has been hitting highs of 20 degrees | M10 | freezer coil is iced up need kitchen tech to inspect | follow-up | open
| y | M1 | n/a | radio | CDC-S | front door right side had to be pushed to lock | M10 | lubed door closer,closer arm needs to be repaired | follow-up | open
| y | resident | 22W012654 | famis | FA-04H-BAT | theres a pocket of water above the shower | M10 | resident did not give access,went up unit 4S floor was wet after the shower was used | follow-up | open