## Sheet1
extended shift report
Date | Follow up needed Y/N | requested by: | Work Order # | Contacted by: | Location: | Problem: | Responded By: | comments: | Contact/customer you communicated resolution to | Open or Closed
2021-11-05 | n | resident | 22W012693 | famis | FA-05H-KIT | dishwasher leaking | M10 | dishwasher was no longer leaking | resident | close
| n | resident | 22W012719 | famis | FA-09D-S2 | leak by ac vent | M10 | replaced ac filter,unclogged ac drainline | resident | close
| n | resident | 22W012757 | famis | GM-M505 | leak by the base of the toilet | M10 | tightened supply line | resident | close
| n | resident | 22W012758 | famis | GM-M401 | toilet is running | M10 | replaced fill valve and flapper | resident | close
| n | resident | 22W012759 | famis | GM-M401 | shower is clogged | M10 | remove clog from the drain | resident | close
| n | staff | 22W012760 | famis | GM-F101 TR | PM compressor | M10 | drained compressore checked for air leaks on the trash chutes | resident | close
| n | staff | 22W012761 | famis | GM-G132 TR | PM compressor | M10 | drained compressore checked for air leaks on the trash chutes | resident | close
| n | staff | 22W012762 | famis | GM-I121 TR | PM compressor | M10 | drained compressore checked for air leaks on the trash chutes | resident | close
| n | staff | 22W012763 | famis | GM-L126 TR | PM compressor | M10 | drained compressore checked for air leaks on the trash chutes | follow-up | open
| n | staff | 22W012764 | famis | GM-M128 TR | PM compressor | M10 | drained compressore checked for air leaks on the trash chutes | follow-up | open