## Sheet1
extended shift report
Date | Follow up needed Y/N | requested by: | Work Order # | Contacted by: | Location: | Problem: | Responded By: | comments: | Contact/customer you communicated resolution to | Open or Closed
2021-11-06 | n | resident | 22W012771 | famis | BB-U202 | ventilation is not working | M10 | vent is working power is on | resident | close
| n | resident | 22W012772 | famis | BB-U202 | fridge light out | M10 | replaced light | resident | close
| n | resident | 22W012773 | famis | BB-U202 | hallway light out | M10 | replaced light | resident | close
| n | resident | 22W012798 | famis | GM-I510 | tub spout is not working | M10 | replaced tub spout | resident | close
| n | resident | 22W012785 | famis | GM-I510 | tub stopper broken | M10 | replaced stopper unclogged tub | resident | close
| n | resident | 22W012797 | famis | GM-F208 | clogged tub | M10 | removed hair clog | resident | close
| n | resident | 22W012778 | famis | BB-V109 | hallway light out | M10 | replaced light | resident | close
| n | resident | 22W012767 | famis | PH-P228 | clogged toilet | M10 | used closet auger to unclog | resident | close
| n | resident | 22W012776 | famis | PL-D-52 | hallway light out | M10 | replaced light | resident | close
| n | resident | 22W012777 | radio | PL-D-52 | sink clogged | M10 | unclogged bathroom sink | resident | close
| n | resident | 22W012783 | famis | GM-F208 | shower clogged | M10 | removed hair clog cleared drain | resident | close
| y | resident | 22W012786 | famis | FA-12P | no hot water | M10 | cleaned burner,relit checked water heater had a leak dropping onto the burners unit is shutting off | follow-up | open
| y | resident | 22W012789 | famis | FA-07H-BAT | clogged toilet | M10 | resident not responding | follow-up | open