## Sheet1
extended shift report
Date | Follow up needed Y/N | requested by: | Work Order # | Contacted by: | Location: | Problem: | Responded By: | Comments: | Contact/customer you communicated resolution to | Open or Closed
2021-11-07 | N | FAMMIS | 22W012789 |  | FA-7H | CLOGGED TOILET | M9 | CLEARED TOILET | RESIDENT | CLOSED
| N | FAMMIS | 22W012801 |  | PHP-210 | FAUCET IS LEAKING | M9 | FAUCET WASN’T TURNED OFF ALL THE WAY NO LEAKS |  | CLOSED
| N | FAMMIS | 22W012813 |  | GML-407 | TOILET WONT FLUSH | M9 | TOILKET TANK WASN’T FILLING UP AJUSTED HANDLE CHAIN | RESIDENT | CLOSED
| N |  |  | RA | AI PUBLIC RESTOOM | TOILET WONT STOP FLUSHING | M9 | REPLACED VACCUMM BREAKER
| Y | FAMMIS | 22W012830 | RD | FA-12K | NO HOT WATER | M9 | AFTER SEVERAL ATTEMPS GOT WATER HEATER TO LIT CHECKED IT AROUND 11:45PM WAS STILL LIT | FOLLOW UP | FOLLOW UP