## Sheet1
extended shift report
Date | Follow up needed Y/N | requested by: | Work Order # | Contacted by: | Location: | Problem: | Responded By: | Comments: | Contact/customer you communicated resolution to | Open or Closed
2021-11-08 | N | FAMMIS | 22W012913 |  | CDC-104 | OUTSIDE FAUCET IS LEAKING | M9 | FOUND NO LEAK WATER HAS BEEN SHUT OFF SINCE LAST WEEK |  | CLOSED
| N | FAMMIS | 22W012991 |  | PHP-115 | SHOWER DRAIN BACKING UP | M9 | CLEARED SHOWER DRAIN |  | CLOSED
| N |  |  | AI RSO | AI-D117 | TOILET IN WOMENS RESTROOM WONT STOP FLUSHING | M9 | REPLACED VACCUMM BREAKER FOR SLOAN |  | CLOSED
| Y |  |  | M1 TRENT | FA-13 | CHECK WATER HEATER TO MAKE SURE IT STAYS ON | M9 | CHECKED HEATER AROUND 7PM HAD TO PULL BURNER ASSEMBLY DRY OFF IGNITOR AND RE LIT WATER HEATER | FOLLOW UP | FOLLOW UP
| Y |  |  | PH RSO | PHB-323 | RESIDENT STATED THEY SAW A ROTTEN IN THEIR ROOM | M9 | COULD NOT LOCATE ROTTEN OF POINT OF ENTRY | PLEASE FOLLOW UP WITH TERMINEX | FOLLOW UP
| N | FAMMIS | 22W012990 |  | GMM-203 | TOILET ON CD SIDE WONT FLUSH | M9 | REPLACED TOILET HANDLE AND TOILET FLAPPER | RESIDENT | CLOSED
| Y |  |  | M1 TRENT | FA-13 | CHECK WATER HEATER TO MAKE SURE IT STAYS ON | M9 | CHECKED WATER HEATER AROUND 11:30 IT WAS STILL LIT