## Sheet1
extended shift report
Date | Follow up needed Y/N | requested by: | Work Order # | Contacted by: | Location: | Problem: | Responded By: | Comments: | Contact/customer you communicated resolution to | Open or Closed
2021-11-10 | N | FAMMIS | 22W013292 |  | BBP-201 | DISPOSAL NOT WORKING | M9 | UNCLOGGED AND RESET DISPOSAL | DOOR TAG | CLOSED
| N | FAMMIS | 22W013295 |  | LOE-402 | KEY IS HARD TO TURN | M9 | LUBED CORE |  | CLOSED
| N |  |  | GM RSO | GMD-2 | SMELL GAS | M9 | CHECKED AREA AND ALL FLOORS CANNOT LOCATE GAS SMELL
| Y |  |  | GM RSO | GMD-101 | SMOKE DETECTOR GOING OFF | M9 | TROUBLE ALARM FOR DIRTY SMOKE DETECTOR ROOM C | RESIDENT | OPEN
| N |  |  | PH RA | PHI-117 | CLOGGED TOILET | M9 | CLEARED TOILET |  | CLOSED
| N | FAMMIS | 22W013299 |  | PHL-227 | TOILKET IS OVERFLOWING | M9 | CLEARED TOILET | RESIDENT | CLOSED
| N |  |  | STEAM PLANT | OB-67 | KITCHEN SINK OVERFLOWING | M9 | DISPOSAL CAME UN HINGED RE SECURED DISPOSAL AND PLUMBING PICKED UP WATER | RESIDENT | CLOSED
| N |  |  | EXT SHT | PHG-1 PUBLIC RESTROOMS | MENS RESTROOM URINAL IS CLOGGED | M9 | CLEARED URINAL |  | CLOSED