## Sheet1
extended shift report
Date | Follow up needed Y/N | requested by: | Work Order # | Contacted by: | Location: | Problem: | Responded By: | comments: | Contact/customer you communicated resolution to | Open or Closed
2021-11-04 | n | staff | 22W013425 | famis | CDC-S122 | bathroom fan is making loud noises | M10 | cleaned housing and fan lubed | resident | close
| n | resident | 22W013432 | famis | LO-E416 | toilet is clogged | M10 | closet augered toilet | resident | close
| n | resident | 22W013438 | famis | FA-13D-KIT | leak under kitchen sink | M10 | replaced sink drain compression rings | resident | close
| n | resident | 22W013448 | famis | PH-L227 | toilet is clogged | M10 | closet augered toilet | resident | close
| n | resident | 22W013457 | famis | PH-L226 | toilet is clogged | M10 | closet augered toilet | resident | close
| n | staff | 22W013463 | famis | GM-F101 TR | PM compressor | M10 | drained compressor checked for air leaks on trash chutes | staff | close
| n | staff | 22W013464 | famis | GM-G132 TR | PM compressor | M10 | drained compressor checked for air leaks on trash chutes | staff | close
| n | staff | 22W013465 | famis | GM-I121 TR | PM compressor | M10 | drained compressor checked for air leaks on trash chutes | staff | close
| n | staff | 22W013466 | famis | GM-L126 TR | PM compressor | M10 | drained compressor checked for air leaks on trash chutes | staff | open
| n | staff | 22W013467 | radio | GM-M128 TR | PM compressor | M10 | drained compressor checked for air leaks on trash chutes | staff | open
| n | staff | 22W013468 | famis | BB-C101 | getaway café leaking toilet | M10 | replaced sloan valve,ad toilet gasket assembly | staff | open