## Sheet1
extended shift report
Date | Follow up needed Y/N | requested by: | Work Order # | Contacted by: | Location: | Problem: | Responded By: | comments: | Contact/customer you communicated resolution to | Open or Closed
2021-11-04 | y | resident | 22W013479 | famis | GM-A104 | There is a dripping water sound coming from the wall in my closet, which has me thinking that there must be a leaking pipe in the closet. There is also some kind of mold in my closet carpet that is probably because of the pipe possibly being leaky. There is no water damage so far, just a dripping noise that starts and stops at random. | M10 | small drip on the shower valve in bathroom AB hot side causing discoloration in closet of room A, needs to carpet cleaned and abatement | follow-up | open
| n | resident | 22W013478 | famis | GM-A104 | tub is draining slow | M10 | unclogged tub drain | resident | close
| n | resident | 22W013461 | famis | GM-L306 | kitchen faucet hard to close | M10 | tightened handle | resident | close
| n | resident | 22W013491 | famis | GM-L306 | tub stopper is not closing | M10 | replaced tub stopper | resident | close
| n | resident | 22W013484 | famis | FA-06E-KIT | leak under kitchen sink | M10 | repaired drainline ptrap | resident | close
| n | resident | 22W013492 | famis | FA-06E-BAT | pressure is low on the bahtroom faucet | M10 | replaced aerator | resident | close
| n | resident | 22W013474 | famis | GM-A407 | oven door handle is loose | M10 | tightened handle | resident | close
| n | resident | 22W013486 | famis | GM-E302 | drain is emitting foul odor | M10 | checked drainlines they werent backing up | resident | close
| n | staff | 22W013483 | famis | OBAN POOL HOUSE | pull station by clubhouse was pulled alarm was not reseting | M10 | curtis white came in to reset panel, and turn off strobes | staff | open
| n | staff | 22W013490 | famis | PH-H-GROUN | elevator is stuck building G-H | M10 | unjammed doors reset the doors,elevator is now working | staff | open