## Sheet1
extended shift report
Date | Follow up needed Y/N | requested by: | Work Order # | Contacted by: | Location: | Problem: | Responded By: | comments: | Contact/customer you communicated resolution to | Open or Closed
2021-11-23 | n | resident | 22W014438 | famis | FA-08D-BAT | bathroom light is out | M9-M10 | replaced light | resident | close
| n | resident | 22W014349 | famis | GM-M410 | main room light is out | M9-M10 | replaced light | resident | close
| n | resident | 22W014463 | famis | GM-I505 | sink is clogged | M9-M10 | unclogged sink drainline | resident | close
| n | resident | 22W014470 | famis | FA-01A-A B | bathroom door locked | M9-M10 | unlocked door | resident | close
| n | staff | 22W014362 | famis | CDC-N1127 | grab bar in bathroom stall loose | M9-M10 | attached cover plate | staff | close
| n | staff | 22W014286 | famis | CDC-S128 | light are out in the observation room | M9-M10 | lights are working they work off of a dimmer switch on the wall | staff | close
| y | resident | 22W014471 | famis | PH-P235 | shower draining slow | M9-M10 | resident in stall | follow-up | open
| n | staff | 22W014463 | famis | GM-I505 | cleanout side of the building is leaking | M9-M10 | snaked line removed roots | staff | close
| n | staff | 22W014475 | famis | BB-G101 | machine machine stuck | M9-M10 | reset machine | staff | close
| Y | staff | n/a | radio | PHO-335 | dryout shower area | M9-M10 | left fan running area was still damp | follow-up | open