## Sheet1
extended shift report
Date | Follow up needed Y/N | requested by: | Work Order # | Contacted by: | Location: | Problem: | Responded By: | Comments: | Contact/customer you communicated resolution to | Open or Closed
2021-11-28 | N | M1 TRENT |  |  | GM-POOL | INSPECT POOL | M9 | SYSTEM WAS IN ALARM FOR LOW ORP LEVELS RESET AND ADDED CHLORINE TO FEEDER
| N | FAMMIS | 22W014572 |  | OB-127/128 | THERES A LEAK IN MY WATER HEATER CLOSET | M9 | WATER HEATER IN OB 128 LEAKING REPLACED SUPPLY LINE BUT HAD TO SHUT WATER OFF AND SAUDER NE PIECE OF 3/4 COPPER AT THE WALL FOR HOT SIDE | DOOR TAG | CLOSED
| N | EXT SHT |  |  | OB -127 | WATER HEATER IS OFF | M9 | RE LIT HEATER | RESIDENT
| Y | EXT SHT |  |  | OB-127 | CEILING IN WATER HEATER CLOSET CAME DOWN | M9 | ENTIRE CEILING IN WATER HEATER C;LOSET CAME DOWN DRY WALL NEEDS TO BE INSTALLED | FOLLOW UP | FOLLOW UP
| N | FAMMIS | 22W014579 |  | OB-55 | THERES NO HOT WATER | M9 | RE LIT HEATER TEMPERATURE SENSOR WAS SHUTTING HEATER OFF | RESIDENT | CLOSED