## Sheet1
extended shift report
Date | Follow up needed Y/N | requested by: | Work Order # | Contacted by: | Location: | Problem: | Responded By: | Comments: | Contact/customer you communicated resolution to | Open or Closed
2021-12-05 | N | FAMMIS | 22W014548 |  | GMD-210 | BLINDS IN ROOM A FELL | M9 | SECURED BLINDS | RESIDENT | CLOSED
| N | STEAM PLANT | 22W015331 |  | AIW-138 | TOILET IS OVERFLOWING | M9 | UNCLOGGED TOILET |  | CLOSED
| N | M1 TRENT | 22W015054 |  | GM A B D E | REPLACED EMERGENCY LIGHTS | M9 | CONTINUED REPLACING LIGHT BUILDING E | STAFF | OPEN
| Y | EXT SHT | 22W015317 |  | GMD | ELEVATOR NOT WORKING | M9 | CONTACTED CURTIS TO CONTACT KONE | RD ON DUTY | FOLLOW UP
| N | FAMMIS | 22W015321 |  | GME-211 | CLOGGED TOILET | M9 | UNCLOGGED TOILET | RESIDENT | CLOSED
| Y | FAMMIS | 22W015327 |  | OB-74 | CEILING ABOVE OUR FRONT DOOR HAS BEEN LEAKING WATER | M9 | CEILING BY DOOR ENTRY LIGHT HAS WATER DAMAGE BUILDING DRAIN FOR ROOF LOOKS LIKE ITS CLOGGED | FOLLOW UP | FOLLOW UP
| Y |  | 22W015329 | ARD | OB-17 | FIRE PANNEL KEEPS GOING INTO TROUBLE BUILDING F BATTERY FAIL | M9 | RA UNIT FIRE PANNEL INSIDE KEEPS GOING INTO TROUBLE | FOLLOW UP | FOLLOW UP
| Y | EXT SHT |  |  | GMB | ELEVATOR WHEN REACHING 4TH FLOOR MAKING LOUD NOISES | M9 | ELEVERATOR MAKING NOISES | FOLLOW UP
| N | M1 TRENT |  |  | GM-POOL | CHECKED POOL | M9 | CHECKED POOL FILLED CHLORINE FEEDER | STAFF
| N | M1 TRENT |  |  | BBV-POOL | CHECKED POOL | M9 | EMPTY OUT STRAINER BASKET AT PUMP WAS FULL OF DEBRIS | STAFF
| N | M1 TRENT |  |  | FA-POOL | CHECKED POOL | M9 | INPECTED POOL | STAFF