## Sheet1
extended shift report
Date | Follow up needed Y/N | requested by: | Work Order # | Contacted by: | Location: | Problem: | Responded By: | Comments: | Contact/customer you communicated resolution to | Open or Closed
2021-12-06 | N | FAMMIS | 22W015483 |  | FA-1A | TOILET NOT FLUSHING | M9 | RE SECURED FLAPPER CHAIN BACK TO TOILET HANDLE | RESIDENT | CLOSED
| N | FAMMIS | 22W015451 |  | FA-9N | TUB DIVERTER PULLS OFF WALL WHENTRYING TO USE SHOWER HEAD | M9 | CUT COPPER PIPE COMING FROM WALL AND REPLACED DIVERTER | RESIDENT | CLOSED
| N | FAMMIS | 22W015445 |  | FA-9N | BEDROOM LOCK WONT LOCK | M9 | RE SECURED DOOR LEVER | RESIDENT | CLOSED
| Y |  |  | CAMPUS APT RSO | BBT-302 | FIRE ALARM | M9 | NO FIRE ALARM JUST TROUBLE BBT-302 SMOKE DETECTOR NOT RESPONDING | STAFF
| N | FAMMIS | 22W015446 |  | GME-104 | CD BATHROOM SINK IS LEAKING | M9 | REPLACED FAUCET AERATOR | RESIDENT | CLOSED
| N | FAMMIS | 22W015054 |  | GMA,B,D,E | REPLACE EMERGENCY LIGHTS | M9 | CONTINUED TO REPLACED LIGHTS
| N | FAMMIS | 22W011146 |  | GMJ | ACCESS ROAD LIGHTS ARE OUT | M9 | TROUBLE SHOOT ELECTRICAL PROBLEM LCD BALLAST RELAY NEEDS TO BE REPLACED | LOCATED ISSSUE