## Sheet1
extended shift report
Date | Follow up needed Y/N | requested by: | Work Order # |  | Location: | Problem: | Responded By: | comments: | Contact/customer you communicated resolution to | Open or Closed
2021-12-07 | n | resident | 22W015627 | famis | OB-055 | toilet is clogged | M9-M10 | snaked sewer lateral | resident | close
| n | resident | 22W015617 | famis | OB-055 | shower doesn’t turn off | M9-M10 | replaced control knob | resident | close
| n | resident | 22W015615 | famis | BB-S306 | no hot water | M9-M10 | rellit reset boiler in BBG,checked throughout the night stayed on | resident | close
| y | staff | 22W015468 | famis | CDC-S118 | The switch on our laminator is broken, we cant turn the machine on to use it. Needs a new switch. | M9-M10 | one of the toggle switches on the unit itself is no wokring only one of the two is flipping | follow-up | open
| n | staff | 22W015052 | famis | GM-A100-TR | Please replace a total of 83 emergency light fixtures in the halls of buildings A, B, D, and E at Glen Mor. | M9-M10 | continued light fixture install-completed GME-4th&3rd floor corridor | staff | open
| n | resident | 22W015565 | famis | FA-09B-A B | tub is clogged | M9-M10 | cleared unclogged drain | resident | close
| n | staff | n/a | radio | AVC-RR | womens rr clogged | M9-M10 | auguered toilet | staff | close
| n | staff | n/a | radio | GML-204 | FIRE ALARM | M9-M10 | burnt food on the stove | staff | close