## Sheet1
extended shift report
Date | Follow up needed Y/N | requested by: | Work Order # | Contacted by: | Location: | Problem: | Responded By: | comments: | Contact/customer you communicated resolution to | Open or Closed
2021-12-08 | y | staff | 22W011146 | famis | GMJ- | acces road pole lights out | M9-M10 | replaced two relays in the electrical box,rewired single light poles by gate arm | staff | open
| n | resident | 22W015725 | famis | GM-I507 | shower is not working | M9-M10 | replaced shower head | resident | close
| n | resident | 22W015724 | famis | GM-I507 | toilet handle broken | M9-M10 | replaced handle | resident | close
| n | resident | 22W015726 | famis | GM-F410 | tub is clogged | M9-M10 | removed clog from the tub drain | resident | close
| y | resident | 22W015749 | famis | LO-D108 | LEAK IN HALLWAY COMING FROM THE ACCESS PANEL | M9-M10 | leak coming from the copper tee inside the access panel placed a clamp and left cans to catch run off from the leak contained | follow-up | open
| n | staff | n.a | famis | BBQ-laundry room | inspect water heater | M9-M10 | water heater maintained operation throughout the night | staff | close
| n | resident | n.a | radio | FK-9N | repair door lock | M9-M10 | repaired handle in the bedroom not the front door | resident | close
| n | staff | n.a | ext phone | OB-74 | no hot water | M9-M10 | one of the main shut off to the building was shut off,ran water heater was dry filled and bled out the system | resident | close
| n | staff | n.a | ext phone | OB-72 | no hot water | M9-M10 | one of the main shut off to the building was shut off | resident | close
| n | staff | n.a | ext phone | BBC-Getaway | floor drain backed up | M9-M10 | snaked floor drains | staff | close