## Sheet1
extended shift report
Date | Follow up needed Y/N | requested by: | Work Order # | Contacted by: | Location: | Problem: | Responded By: | comments: | Contact/customer you communicated resolution to | Open or Closed
2021-12-09 | n | staff | 22W015052 | famis | GM-A100-TR | Please replace a total of 83 emergency light fixtures in the halls of buildings A, B, D, and E at Glen Mor. | M9-M10 | completed replaced GME- 1st thru 4th floor corridor emergency light fixtures | staff | open
| y | staff | 22W015834 | famis | CDC-S105 | faucet is dripping | M9-M10 | stems are not shutting off unable to repair replace faucet | follow-up | open
| n | staff | 22W015891 | famis | CDC-S112 | toilet is leaking | M9-M10 | replaced vaccum breaker | staff | close
| n | resident | 22W015894 | famis | FA-14D-A B | tub is clogged | M9-M10 | unclogged removed tub drain | resident | close
| y | staff | 22W015887 | famis | BB-J102-CO | leaking ceiling | M9-M10 | unclogged roof drain cleared water that was pooled up in the low spot of the roof collecting and leaking into the conference room,carpet needs extraction and ceiling tiles replaced | follow-up | open
| y | resident | 22W015900 | famis | GM-D402 | leak in living room ceiling | M9-M10 | cleared unclogged roof drain,follow need for the drywall repair in the ceiling | follow-up | open
| y | staff | n/a | radio | GMK-0101 | leak in the ceiling of the bathroom pool area | M9-M10 | leaking by the fire sprinkler in the ceiling | follow-up | open