## Sheet1
extended shift report
Date | Follow up needed Y/N | requested by: | Work Order # | Contacted by: | Location: | Problem: | Responded By: | comments: | Contact/customer you communicated resolution to | Open or Closed
2021-12-09 | y | staff | 22W015939 | famis | CDC-104 | desk light is not turning on | M10 | bulb is out unable to locate replacement | follow-up | open
| n | resident | 22W015943 | famis | GM-L206 | hallway light out | M10 | replaced wall light | follow-up | open
| n | resident | 22W015944 | famis | GM-L206 | ab sink is clogged | M10 | unclogged ptrap assembly | staff | close
| n | resident | 22W015961 | famis | GM-A109 | 3 burners are not working | M10 | replaced two stove burners | resident | close
| n | staff | 22W015937 | famis | CDC-112 | toilet leaking | M10 | replaced flush valve | follow-up | close
| n | resident | 22W015933 | famis | BB-T203 | oven light is staying on | M10 | adjusted oven knob | follow-up | close
| n | resident | 22W016007 | famis | GM-M609 | fridge has been out since Sunday | M10 | reset tripped breaker | follow-up | close
| n | staff | 22W016009 | famis | PH-P-ROOF | exterior lighting is out | M10 | turned on timer manually | staff | close
| n | staff | 22W016001 | famis | BB-Q100 | remove water fountain sign approved by EH&S | M10 | removed sign | staff | close
| y | resident | 22W015960 | famis | GM-E409 | oven is not working or turning on | M10 | broiler or bake burners are not lighting,possible temp sensor is out | follow-up | open