## Sheet1
extended shift report
Date | Follow up needed Y/N | requested by: | Work Order # | Contacted by: | Location: | Problem: | Responded By: | comments: | Contact/customer you communicated resolution to | Open or Closed
2021-12-11 | n | staff | 22W015939 | famis | CDC-S104 | desk light is not working | M10 | rewired and replaced overhead lamp by the on the teachers desk | staff | close
| n | resident | 22W016065 | famis | GM-I410 | toilet handle is broken | M10 | replaced handle | resident | close
| y | resident | 22W016010 | famis | FA-05P-BAT | shower head has no pressure | M10 | resident in the shower unable to repair | follow-up | open
| n | resident | 22W016018 | famis | GM-D305 | toilet seat is broken | M10 | replaced seat | resident | close
| n | resident | 22W016077 | famis | GM-D305 | tub is clogged | M10 | unclogged tub removed hair and debris | resident | close
| n | staff | 22W015052 | famis | GM-A100-TR | Please replace a total of 83 emergency light fixtures in the halls of buildings A, B, D, and E at Glen Mor. | M10 | continued with ligh fixture install complete GMD-4th floor | staff | open