## Sheet1
extended shift report
Date | Follow up needed Y/N | requested by: | Work Order # | Contacted by: | Location: | Problem: | Responded By: | comments: | Contact/customer you communicated resolution to | Open or Closed
2021-12-15 | y | staff | 22W016379 | ext-phone | GLASGOW-DINING | CALLED IN BY MOSES GLASGOW DIING BACK DOCK HANDLE AND CYLINDER CAME OUT OF DOOR. GLASGOW IS NOT SECURE. | M9-M10 | COVER IS BROKEN CYLINDER IS DAMAGED ALSO-PLACED THE HANDLE BACK ON ONLY SECURED BY ONE OF THE FOUR SCREWS NEEDS IMMEDIATE ATTENTION | follow-up | open
| y | staff | 22W016081 | famis | GM-L-GROUN | L building 2nd floor lobby has two lights flickering constantly | M9-M10 | need to move the genie lift to inspect the lights | follow-up | open
| n | resident | 22W016330 | famis | GM-L307 | toilet keep flushing | M9-M10 | replaced flapper | resident | close
| n | resident | 22W016349 | famis | GM-L506 | hallway light is out | M9-M10 | replaced bedroom A light,three hall way lights | resident | close
| n | resident | 22W016350 | famis | GM-I221 TR | trash chute is not opening | M9-M10 | repaired actuator air line | staff | close
| n | resident | 22W016360 | famis | GM-L202 | tub is leaking/no hot water | M9-M10 | replaced tub spindle cartridge | resident | close
| n | staff | 22W016304 | famis | CDC-N | removed damaged canopies in the playrgound | M9-M10 | removed two broken ez-ups placed in back gated area | staff | close
| y | staff | 22W016343 | famis | CDC-S104 | leak in ceiling byt cabinets | M9-M10 | follow-up leaked before in the same area two water spotted tiled | follow-up | open
| y | staff | n/a | ext-phone | GETAWAY-Café | floor draine is backing up | M9-M10 | needs to be ran with a large snake-closiing up the restaurant could not clear | follow-up | open
| n | resident | 22W016353 | famis | FK-2K | leaking kitchen faucet | M9-M10 | repaired kitchen faucet,and bathroom faucet | resident | close
| n | resident | 22W016357 | famis | FK-2K | oven light is out | M9-M10 | light is working | resident | close
| n | staff | 22W016042 | famis | GM-G-GROUN | light fixture cover for a light on the 5th floor of G building was on the ground. The light fixture was near apartment 509. | M9-M10 | all covers in the handle are in place checked the 5th floor | staff | close
| n | staff | n/a | radio | OB-92 | fire alarm | M9-M10 | cofirmed fire alarm-burnt food | resident | close
| n | staff | n/a | radio | LOD-212 | trouble alarm | M9-M10 | trouble reported not a fire alarm | staff | close