## Sheet1
extended shift report
Date | Follow up needed Y/N | requested by: | Work Order # | Contacted by: | Location: | Problem: | Responded By: | comments: | Contact/customer you communicated resolution to | Open or Closed
2021-12-15 | n | resident | 22W016478 | famis | GM-I410 | locked out of my apartment | M9-M10 | room d resident was not at the unit when we arrived we opened the door checked the bedroom was unclocked also | staff | close
| y | resident | 22W016482 | famis | GM-I101 | broken toilet handle cd side | M9-M10 | reisdent was using the shower | follow-up | open
| y | resident | 22W016480 | famis | OB-047 | toilet is clogged | M9-M10 | residents child was using the bathroom they have another working toilet asked to comeback in the AM | follow-up | open
| n | resident | 22W016456 | famis | BB-S213 | toilet is not flushing | M9-M10 | augrered toilet | resident | close
| n | resident | 22W016352 | famis | FA-06R-KIT | towel bar fell | M9-M10 | repaired towel bar mount | resident | close
| n | resident | n/a | resident | FA-06R-KIT | thermostat is locked out cannot used heater | M9-M10 | unlocked tstat is working | resident | close
| y | resident | 22W016483 | famis | FA-05B-KIT | leak by the cabinet | M9-M10 | dishwasher pump is leaking | follow-up | open
| n | staff | 22W015052 | famis | GM-A100-TR | Please replace a total of 83 emergency light fixtures in the halls of buildings A, B, D, and E at Glen Mor. | M9-M10 | continued install of the fixtures | staff | open