## Sheet1
extended shift report
Date | Follow up needed Y/N | requested by: | Work Order # | Contacted by: | Location: | Problem: | Responded By: | comments: | Contact/customer you communicated resolution to | Open or Closed
2021-12-17 | n | resident | 22W016684 | famis | PH-K248 | shower head has no pressure | M10 | replaced showerhead | resident | close
| n | resident | 22W016670 | famis | GM-L403 | toilet is running | M10 | replaced fill valve and flapper | resident | close
| n | staff | 22W016531 | famis | CDC-S104 | outside faucet has no pressure on the sink | M10 | replaced faucet | staff | close
| n | staff | 22W016530 | famis | CDC-S104 | toilet leaking | M10 | replaced vaccumm breaker | staff | close
| n | staff | n/a | ext phone | GLASGOW | dining call pd and fd about a CO2 leak | M10 | co2 container was reported to have a leak- outside vendor was called by the dining staff to repair | staff | close
| n | staff | 22W015052 | famis | GM-A100-TR | Please replace a total of 83 emergency light fixtures in the halls of buildings A, B, D, and E at Glen Mor. | M10 | conintued light fixture replacement | staff | open