## Sheet1
extended shift report
Date | Follow up needed Y/N | requested by: | Work Order # | Contacted by: | Location: | Problem: | Responded By: | comments: | Contact/customer you communicated resolution to | Open or Closed
2021-12-21 | n | resident | 22W016818 | famis | BB-E204 | toilet is clogged | M9-M10 | augered toilet to unclog | resident | close
| n | resident | 22W016818 | famis | BB-E204 | front door lock stuck | M9-M10 | tightened lock handle | resident | close
| n | resident | 22W016832 | famis | FA-03H | Bedroom socket has issues, if I plug in a fan to one socket other sockets don't work. | M9-M10 | chased loose neutral-replaced outlet | resident | close
| n | resident | 22W016831 | famis | FA-03H-BAT | bathroom sink stuck | M9-M10 | unclogged stopper | resident | close
| n | resident | 22W016831 | famis | FA-03H-BAT | dining room light is out | M9-M10 | replaced ceiling light | resident | close
| n | staff | 22W015052 | famis | GM-A100-TR | Please replace a total of 83 emergency light fixtures in the halls of buildings A, B, D, and E at Glen Mor. | M9-M10 | continued light fixture install | staff | open
| n | M1 | n/a | radio | BBV-201 | lock up | M9-M10 | secure unit | staff | close
| n | M1 | n/a | radio | FK-16C | lock up | M9-M10 | secure unit | staff | close