## Sheet1
extended shift report
Date | Follow up needed Y/N | requested by: | Work Order # | Contacted by: | Location: | Problem: | Responded By: | comments: | Contact/customer you communicated resolution to | Open or Closed
2021-12-22 | n | staff | 22W015052 | famis | GM-A100-TR | Please replace a total of 83 emergency light fixtures in the halls of buildings A, B, D, and E at Glen Mor. | M10 | continued light fixture replacement | staff | open
| y | resident | 22W016874 | famis | OB-101 | freezer opens when the fridge is opened | M10 | door seal needs to be replaced | follow-up | open
| y | staff | 22W016875 | famis | AI-D230 | hall emergency exit door is nto locking | M10 | pull door shut the pilferguard keeps beeping randomly | follow-up | open
| n | M1 | n/a | ext-maint | GMF | PM trash chute compressor | M10 | drained compressor,inspected for air leaks on trash chutes | staff | close
| n | M1 | n/a | ext-maint | GMG | PM trash chute compressor | M10 | drained compressor,inspected for air leaks on trash chutes | staff | close
| n | M1 | n/a | ext-maint | GMI | PM trash chute compressor | M10 | drained compressor,inspected for air leaks on trash chutes | staff | close
| n | M1 | n/a | ext-maint | GML | PM trash chute compressor | M10 | drained compressor,inspected for air leaks on trash chutes | staff | close
| n | M1 | n/a | ext-maint | GMM | PM trash chute compressor | M10 | drained compressor,inspected for air leaks on trash chutes | staff | close
| n | M1 | n/a | ext-maint | BBV-201 | lock up | M10 | secured unit | staff | close