## Sheet1
extended shift report
Date | Follow up needed Y/N | requested by: | Work Order # | Contacted by: | Location: | Problem: | Responded By: | comments: | Contact/customer you communicated resolution to | Open or Closed
2022-01-08 | n | resident | 22W017679 | famis | FA-04B-KIT | smoke alarm beeping | M10 | repalced hallway smoke detector | resident | close
| n | resident | 22W017678 | famis | GM-I105 | kitchen faucet leaking | M10 | tightend faucet | resident | close
| n | resident | 22W017676 | famis | OB-047 | no power in the unit | M10 | reset breaker | resident | close
| n | resident | 22W017675 | famis | PH-J126 | clogged toilet | M10 | augered toilet drain | resident | close
| n | resident | 22W017674 | famis | PH-G325 | no hot water | M10 | hot water issues from shutdown-ran water in the hall until it ran hot throughout | resident | close
| n | resident | 22W017673 | famis | PH-G327 | no pressure in the faucet | M10 | flushed lines to clear debris in lines still | resident | close
| n | resident | 22W017672 | famis | PH-G320 | lounge sink clogged | M10 | found the sink draining slow cleared the drain line | resident | close