## Sheet1
extended shift report
Date | Follow up needed Y/N | requested by: | Work Order # | Contacted by: | Location: | Problem: | Responded By: | comments: | Contact/customer you communicated resolution to | Open or Closed
2022-01-09 | n | resident | 22W017688 | famis | GM-A101 | disposal is not running | M10 | reset and unclogged disposal | resident | close
| n | resident | 22W017693 | famis | GM-F510 | toilet is not flushing | M10 | replaced handle | resident | close
| n | resident | 22W017692 | famis | GM-F503 | toilet is running | M10 | replaced toilet flapper | resident | close
| n | resident | 22W017692 | famis | GM-F503 | shower diverter is leaking | M10 | replaced tub spout | resident | close
| n | resident | 22W017695 | famis | PH-L233 | residents key is not working | M10 | unjammed lock striker was stuck | resident | close
| n | resident | 22W017686 | famis | PL-B-21 | hallway light is out | M10 | replaced light | resident | close
| n | resident | 22W017683 | famis | FA-05R-KIT | disposal is not running | M10 | reset and unclogged disposal | resident | close
| n | resident | 22W017682 | famis | BB-L205 | stove top burners are broken | M10 | replaced all four burners | resident | close
| n | resident | 22W017680 | famis | OB-121 | shower is not turning on | M10 | replaced control knob | resident | close
| y | resident | 22W017681 | famis | OB-121 | heater is not working | M10 | space heater in the unit already provided | follow-up | open
| n | resident | 22W017699 | famis | PH-F345 | shower has no pressure | M10 | flushed lines and bled out air from the lines | resident | close
| n | resident | 22W017696 | famis | PH-N225 | no hot water | M10 | ran water in the halls and lounges until hot water ran hot in the showers and sinks | resident | close