## Sheet1
extended shift report
Date | Follow up needed Y/N | requested by: | Work Order # | Contacted by: | Location: | Problem: | Responded By: | comments: | Contact/customer you communicated resolution to | Open or Closed
2022-01-11 | n | resident | 22W018021 | famis | FK-2P | leak under bathroom sink | M10 | repaired ptrap assembly | resident | close
| n | resident | 22W018020 | famis | FK-2P | leak under kitchen sink | M10 | replaced disposal | resident | close
| n | resident | 22W017988 | famis | AI-A222 | clogged urinal | M10 | inpected urinal had trash | resident | close
| n | resident | 22W018002 | famis | PH-B219 | water is not hot | M10 | ran water hot water was working the halls | resident | close
| n | resident | 22W018017 | famis | BB-S113 | clogged kitchen sink | M10 | reset and unclogged disposal | resident | close
| n | resident | 22W017996 | famis | AI-B101 | leaking faucet | M10 | tightened faucet connection in the laundry room sink | resident | close
| n | resident | 22W018019 | famis | GM-L204 | screw fell under the sink | M10 | secured screw under the sink mount | resident | close
| n | resident | 22W018009 | famis | GM-L204 | tub is clogged | M10 | removed clog in the tub drain | resident | close
| n | resident | 22W018013 | famis | BB-S201 | no power in the outlets | M10 | reset breaker | resident | close
| n | resident | 22W018007 | famis | PH-E219 | shower door is stuck | M10 | unjammed pocket door | resident | close
| n | resident | 22W018016 | famis | GM-G203 | disposal Is not working | M10 | reset and unclogged disposal | resident | close