## Sheet1
extended shift report
Date | Follow up needed Y/N | requested by: | Work Order # | Contacted by: | Location: | Problem: | Responded By: | comments: | Contact/customer you communicated resolution to | Open or Closed
2022-01-14 | n | resident | 22W018162 | famis | PH-K220 | all light in the hall are out | M10 | replaced 4 can lights | resident | close
| n | staff | 22W018161 | famis | H0100 | toilet constant flushing | M10 | checked sensor toilet is flushing correctly | staff | close
| n | resident | 22W018159 | famis | GM-A206 | broken drawer | M10 | repaired drawer guide in bathroom vanity | resident | close
| n | resident | 22W018154 | famis | GM-F510 | toilet is running | M10 | replaced flapper | resident | close
| y | resident | 22W018170 | famis | PH-M338 | shower is leaking | M10 | tightened handle-cartridge needs to be replaced | follow-up | open
| y | staff | 22W018158 | famis | H0100 | bathroom faucet it not worknig | M10 | faucet sensor is not working | follow-up | open