## Sheet1
extended shift report
Date | Follow up needed Y/N | requested by: | Work Order # | Contacted by: | Location: | Problem: | Responded By: | comments: | Contact/customer you communicated resolution to | Open or Closed
2022-01-25 | n | resident | 22W018772 | famis | GM-E401 | dishwasher is not working | M9-M10 | set motor unclogged drain,secured dishwasher | resident | close
| n | resident | 22W018922 | famis | GM-F401 | water leak from the roof vent in the bathroom | M9-M10 | checked upstairs found no apparent issues, | resident | close
| n | resident | 22W018881 | famis | GM-F510 | toilet clogged | M9-M10 | augered toilet | resident | close
| n | resident | 22W018902 | famis | PL-A-01 | kitchen sink clogged | M9-M10 | unclogged drainline-reset disposal | resident | close
| n | staff | 22W018752 | famis | CDC104 | leak under sink | M9-M10 | repaired supply line | staff | close
| y | staff | 22W011146 | famis | GML-acces road | acces road pole lights behind GML | M9-M10 | lights have a broke wire on the second to laat pole on the driveway | follow-up | open
| y | resident | 22W018931 | famis | PH-M120 | leak in the ceiling of the hall | M9-M10 | 2inch ball valve leaking- | follow-up | open
| y | resident | 22W018905 | famis | FA-12K-A B | shower valve is still leaking | M9-M10 | valve has been repaired before the body is damaged | follow-up | open
| n | staff | n/a | radio | PHA- | lights in front of A and E exterior are out | M9-M10 | turned photocell for the exterior lights | staff | close
| n | staff | n/a | radio | OB-100 | fire alarm | M9-M10 | fire alarm due to a burt food | staff | close