## Sheet1
extended shift report
Date | Follow up needed Y/N | requested by: | Work Order # | Contacted by: | Location: | Problem: | Responded By: | comments: | Contact/customer you communicated resolution to | Open or Closed
2022-02-03 | n | resident | 22W019921 | famis | GM-L304 | bathsink clogged | M10 | unclogged pop up assembly | resident | close
| n | resident | 22W019881 | famis | GM-L304 | toilet is running | M10 | replaced flapper | resident | close
| n | staff | 22W019888 | famis | CDCS104 | temp is too high in the classroom | M10 | kids wash sink the back temp was low adjusted | staff | close
| n | staff | 22W019814 | famis | CDCS108 | 7 can lights out in hallway | M10 | direct wired lights with LED continue to work on them | follow-up | open
| n | resident | 22W019918 | famis | GM-I402 | clogged toilet | M10 | closet augered toilet | resident | close
| n | resident | 22W019914 | famis | PH-M145 | shower is not draining | M10 | unclogged drainline | resident | close
| n | resident | 22W019909 | famis | PH-I246 | clogged toilet | M10 | closet augered toilet | resident | close
| n | staff | n/a | radio | OB-14 | lock up | M10 | secured unit | staff | close
| n | staff | n/a | radio | GM-MARKET | toilet is not flushing | M10 | unclogged toilet | staff | close
| y | resident | 22W019915 | famis | GM-B-GROUN | building B elevator is not working | M10 | reset elevator remained stuck on first floor shutdown the elevator for the night | follow-up | open
| y | resident | 22W019916 | famis | GM-F509 | no hot water | M10 | reset roof top boilers- | follow-up | open