## Sheet1
extended shift report
Date | Follow up needed Y/N | requested by: | Work Order # | Contacted by: | Location: | Problem: | Responded By: | comments: | Contact/customer you communicated resolution to | Open or Closed
2022-02-09 | n | resident | 22W020509 | famis | BB-B201 | door lock is not working | M9-M10 | lubed deadbolt tightened lock | resident | close
| n | resident | 22W020435 | famis | BB-B201 | toilet is running | M9-M10 | repalced toilet flapper | resident | close
| n | resident | 22W020420 | famis | BB-S209 | clogged bathroom sink | M9-M10 | unclogged ptrap assembly | resident | close
| y | resident | 22W020501 | famis | BB-R206 | kitchen sink leak | M9-M10 | resident follow up in the AM | follow-up | open
| n | resident | 22W020502 | famis | AI-D322 | showers are clogged | M9-M10 | unclogged drain removed clog | resident | close
| n | resident | 22W020506 | famis | AI-D322 | toilet stall is clogged | M9-M10 | closet augered toilet to unclog | resident | close
| n | resident | 22W020503 | famis | PH-L227 | toilet is clogged | M9-M10 | closet augered toilet to unclog | resident | close
| n | resident | 22W020500 | famis | PH-H226 | toilet is flushing constantly | M9-M10 | replaced sloan kit | resident | close
| n | resident | 22W020504 | famis | PL-E-57 | kitchen sink leak | M9-M10 | replaced cracked waste arm assembly | resident | close
| n | resident | 22W020511 | famis | PL-E-57 | bathroom sink leak | M9-M10 | replaced cracked downpipe | resident | close
| n | staff | 22W020512 | famis | PL-73 | leak in bathroom | M9-M10 | found no leaks in the bathroom | resident | close
| n | resident | 22W020513 | famis | PHM- | residents key is stuck in main door PHM 2nd floor | M9-M10 | lubed lock removed key returned to resident | resident | close
| n | staff | n/a | radio | BBC-204 | fire alarm | M9-M10 | burnt food cause of alarm | staff | close