## Sheet1
extended shift report
Date | Follow up needed Y/N | requested by: | Work Order # | Contacted by: | Location: | Problem: | Responded By: | comments: | Contact/customer you communicated resolution to | Open or Closed
2022-02-11 | n | resident | 22W020748 | famis | BB-V201 | fridge is not working and the sink is clogged | M10 | fridge was replaced earlier,sink was draining and working | resident | close
| n | resident | 22W020736 | famis | GM-L206 | no hot water | M10 | hot water was working reaching temp,inspected building water temperature stayed on throughout the night | resident | close
| n | resident | 22W020739 | famis | GM-M302 | toilet is running | M10 | replaced flapper | resident | close
| n | resident | 22W020732 | famis | BB-U101 | clogged toilet | M10 | removed toilet,snaked mainline removed wipes from the line,reset toilet | resident | close
| n | resident | 22W020745 | famis | BB-A305 | fallen box reported by the resident by the building | M10 | no issues found walked the building did not find anything | resident | close
| n | staff | 22W020597 | famis | GM-J110 RE | transtion piece on the carpet is coming up | M10 | glued down transtion piece in attempt to repair | staff | close
| y | resident | 22W020630 | famis | OB-112 | ac is not working | M10 | placed portable ac unit in the living room | follow-up | open
| y | staff | 22W020766 | famis | GM-K POOL | fire pit is not turning on | M10 | fire needs to be turned on manually does not spark | follow-up | open