## Sheet1
extended shift report
Date | Follow up needed Y/N | requested by: | Work Order # | Contacted by: | Location: | Problem: | Responded By: | comments: | Contact/customer you communicated resolution to | Open or Closed
2022-02-15 | n | resident | 22W021089 | famis | GM-A202 | light is out | M9-M10 | replaced ballast and lamps on the bahtroom light | resident | close
| n | resident | 22W021122 | famis | PH-O235 | shower is clogging | M9-M10 | unclogged drainline removed clog | resident | close
| n | resident | 22W021123 | famis | PH-O236 | toilet clogged | M9-M10 | toilet augered to clear | resident | close
| n | resident | 22W021095 | famis | GM-F205 | entry light is out | M9-M10 | replace t8 lamp | resident | close
| n | resident | 22W020762 | famis | GM-A107 | leak coming from the ceiling | M9-M10 | checked ceilingfound no leaks or evidence of a leak | resident | close
| n | resident | 22W021060 | famis | BB-Q303 | light under the cabinet is not on | M9-M10 | lgith was working resident was not using the correct switch | resident | close
| n | resident | 22W021047 | famis | GM-G209 | tub is clogged | M9-M10 | unclogged drainline removed clog | resident | close
| y | resident | 22W020854 | famis | BB-R306 | fridge is not cooling | M9-M10 | check fridge am ensure its continuing to work properly it was working when we checked it | follow-up | open
| y | staff | n/a | radio | PL-70 | ac is not working | M9-M10 | reported by the housekeeping staff during cleanup of quarantine unit | follow-up | open