## Sheet1
extended shift report
Date | Follow up needed Y/N | requested by: | Work Order # | Contacted by: | Location: | Problem: | Responded By: | comments: | Contact/customer you communicated resolution to | Open or Closed
2022-02-17 | n | resident | 22W021289 | famis | BB-A104-CO | ceiling leak- | M9-M10 | installed toilet in BBA206 after abatement was completed | resident | close
| n | resident | 22W021308 | famis | FA-09G-KIT | dishwasher clogged | M9-M10 | unclogged dishwasher drainline | resident | close
| n | staff | 22W021364 | famis | GM-M128 TR | compressor is not running | M9-M10 | reset breaker | staff | close
| n | resident | 22W021325 | famis | GM-L402 | light out over the stove | M9-M10 | replaced microwave bulb | resident | close
| n | resident | 22W021363 | famis | GM-L402 | light out under the cabinet | M9-M10 | replaced lamp | resident | close
| n | staff | 22W021267 | famis | GMK0106 | clocks are not working | M9-M10 | replaced batteries set clocks | staff | close
| n | staff | 22W021280 | famis | GMK0106 | The media floor boxes in K106 and K108 have holes in them which is a safety hazard. | M9-M10 | boxes have a cut for the cables to be used and shut the small access panel | staff | close
| n | resident | 22W021365 | famis | GM-E407 | source of leak into bottoim floors | M9-M10 | replaced shower hose assembly | resident | close
| y | resident | 22W021366 | famis | GM-E307 | leak in ab shower ceiling | M9-M10 | drywall and paint needed possible abatement | follow-up | open
| y | resident | 22W021359 | famis | GM-E209 | leak in ab shower ceiling | M9-M10 | drywall and paint needed possible abatement | follow-up | open
| n | staff | n/a | radio | AI-A3W | resident dropped keys down trash chute | M9-M10 | checked the chute could did not find keys to retrieve | resident | close
| y | staff | n/a | radio | LOB-323 | trouble alarm | M9-M10 | panel going into trouble for the area | follow-up | open