## Sheet1
extended shift report
Date | Follow up needed Y/N | requested by: | Work Order # | Contacted by: | Location: | Problem: | Responded By: | comments: | Contact/customer you communicated resolution to | Open or Closed
2022-02-23 | n | M1 | n/a | radio | GMI-225 | lights are out | M9-M10 | walked all lights are working in the study lounge | staff | close
| n | resident | 22W021724 | famis | GM-L401 | sink is clogged | M9-M10 | unclogged ptrap drain | resident | close
| n | resident | 22W021798 | famis | FA-15D-BAT | no hot water | M9-M10 | checked water heater all fixtures have hot water | resident | close
| n | resident | 22W021800 | famis | GM-M204 | no power | M9-M10 | reset breaker | resident | close
| n | resident | 22W021802 | famis | GM-G404 | toilet is not working | M9-M10 | replaced toilet handle | resident | close
| n | resident | 22W021801 | famis | GM-L405 | no power | M9-M10 | reset breaker | resident | close
| y | staff | 22W021813 | famis | AI-C112 | double doors are jamming | M9-M10 | door are working on and off please check them second time since this weekend this was reported | follow-up | open
| y | resident | 22W021809 | famis | PH-J310 | leakin hall way | M9-M10 | condensation leak in the hallway removed damage ceiling tile | follow-up | open
| y | staff | 22W021796 | famis | GM-E100-ET | elevator stuck on 1st floor | M9-M10 | reset elevator was not working- we left the elevator offline-called Ben to call tech to repair | follow-up | open
| n | staff | n/a | radio | FALKIRK | exterior light walk | M9-M10 | walked all building lights are working and exterior | staff | close