## Sheet1
extended shift report
Date | Follow up needed Y/N | requested by: | Work Order # | Contacted by: | Location: | Problem: | Responded By: | comments: | Contact/customer you communicated resolution to | Open or Closed
2022-02-26 | n | resident | 22W022097 | famis | PH-J119 | clogged shower | M10 | cleared drain removed clog | resident | close
| n | resident | 22W022096 | famis | LO-A423 | shower is not turning off | M10 | tigthened handle | resident | close
| n | resident | 22W022123 | famis | PH-C245 | clogged toilet | M10 | unclogged toilet | resident | close
| n | resident | 22W022120 | famis | PH-A238 | leaking shower head | M10 | replaced shower head | resident | close
| n | resident | 22W022137 | famis | PH-A238 | clogged shower | M10 | cleared drain removed clog | resident | close
| n | resident | 22W022074 | famis | GM-E205 | light fell out of ceiling | M10 | installed in the reccesed ring | resident | close
| n | resident | 22W022138 | famis | GM-E205 | bedroom b lock is jammed | M10 | lubed lock | resident | close
| n | resident | 22W022026 | famis | PL-B-25 | clogged shower | M10 | cleared drain removed clog | resident | close
| n | resident | 22W021985 | famis | GMA-101 | toilet is not filling | M10 | adjusted fill valve | resident | close
| n | resident | 22W022076 | famis | GM-G402 | no power in the living room | M10 | reset breaker | resident | close
| n | resident | 22W022082 | famis | PH-L138 | clogged shower | M10 | cleared drain removed clog | resident | close
| y | staff | 22W022130 | famis | AI-D128 | leak in the hallway going to D-E gameroom | M10 | place trash can to catch leak | follow-up | open
| y | staff | 22W022139 | famis | PH-F105 | leak in music room ceiling | M10 | leak from copper line at the coupling-placed can to catch water | follow-up | open