## Sheet1
extended shift report
Date | Follow up needed Y/N | requested by: | Work Order # | Contacted by: | Location: | Problem: | Responded By: | comments: | Contact/customer you communicated resolution to | Open or Closed
2022-03-01 | n | resident | 22W022414 | famis | GM-I209 | tub is clogged | M9-M10 | unclogged drainline | resident | close
| n | resident | 22W022445 | famis | BB-I204 | toilet is not flushing | M9-M10 | replaced flapper | resident | close
| n | resident | 22W022425 | famis | GM-M310 | kitchen faucet leaking | M9-M10 | tightened base | resident | close
| n | resident | 22W022452 | famis | GM-F509 | broken outlet cover | M9-M10 | checked outlets all are in place | resident | close
| n | resident | 22W022451 | famis | GM-F509 | diposal is clogged | M9-M10 | reset unclogged | resident | close
| n | resident | 22W022446 | famis | OB-017 | no water pressure | M9-M10 | bled out air from the water lined | resident | close
| n | resident | 22W022442 | famis | OB-022 | leak in the patio | M9-M10 | replaced leakign water supply line on the water heater | resident | close
| n | staff | n/a | radio | FK-pool | pool overfilling | M9-M10 | shut off pool fill | staff | close
| y | staff | n/a | radio | GML-207 | bathroom flooded | M9-M10 | unclogged toilet cd-side,custodial called to extract and disinfect | follow-up | open
| n | staff | n/a | radio | GMM-301 | fire alarm | M9-M10 | resident caused | staff | close
| y | resident | 22W022459 | famis | PHG-241 | key jammed in the lock | M9-M10 | residents key broke in the lock-deadbolt Is jamming we removed the broken key | follow-up | open