## Sheet1
extended shift report
Date | Follow up needed Y/N | requested by: | Work Order # | Contacted by: | Location: | Problem: | Responded By: | comments: | Contact/customer you communicated resolution to | Open or Closed
2022-03-04 | n | resident | 22W022905 | famis | PL-B-31 | clogged toilet | M10 | closet augered toilet | resident | close
| n | resident | 22W022888 | famis | BB-H303 | hallway light is out | M10 | replaced lamp fixture | resident | close
| n | resident | 22W022888 | famis | BB-H303 | bedroom light is out | M10 | replaced with led ligths | resident | close
| n | staff | 22W022837 | famis | CDCN1117 | light is out | M10 | replaced lights | staff | close
| y | resident | 22W022900 | famis | FA-16B-B B | toilet is cracked | M10 | removed broken tank-replaced with a non matching tank so the toilet could be used,will need to locate correct one | follow-up | open
| y | resident | 22W022880 | famis | FA-09E-KIT | fridge is not keeping temperatur | M10 | reset timer fridge is working | follow-up | open