## Sheet1
extended shift report
Date | Follow up needed Y/N | requested by: | Work Order # | Contacted by: | Location: | Problem: | Responded By: | Comments: | Contact/customer you communicated resolution to | Open or Closed
2022-03-06 | N | FAMMIS | 22W022937 |  | BBV-109 | BATHROOM SINK NOT DRAINING ROOM A | M9 | CLEARED SINK DRAIN | RESIDENT | CLOSED
| N | FAMMIS | 22W022936 |  | BBV-109 | CLOGGED TOILET | M9 | CLEARED TOILET | RESIDENT | CLOSED
| N | FAMMIS | 22W022938 |  | BBV-109 | BATRROM SINK IN ROOM B CLOGGED | M9 | SNAKED SINK DRAIN | TRESIDENT | CLOSED
| N | FAMMIS | 22W022943 |  | GML-208 | TOILET KKEPS RUNNING | M9 | REPLACED TOILET FLAPPER ON AB SIDE | DOOR TAG | CLOSED
| N | FAMMIS | 22W022944 |  | GML-208 | CLOGGED TUB ON AB SIDE | M9 | CLEARED TUB DRAIN | DOOR TAG | CLOSED
| N | FAMMIS | 22W022927 |  | GMA-104 | FRIDGE IS NOT COOLING | M9 | DEFROSTED FRIDGE REPLACED EVAPORATOR FAN MOTOR | RESIDENT | CLOSED
| N | FAMMIS | 22W022945 |  | GMI-204 | TOILET ON AB SIDE KEEPS FILLING UP | M9 | REPLACED TOILET FLAPPER ON AB SIDE | DOOR TAG | CLOSED
| N | FAMMIS | 22W022947 |  | FA-2F | KITCHEN SINK BACKING UP | M9 | SNAKED KITCHEN DRAIN | RESIDENT | CLOSED
| N | FAMMIS | 22W022950 |  | FA-2F | KITCHEN SINK NOT DRAINING | M9 | SNAKED DRAIN | RESIDENT | CLOSED
| N | FAMMIS | 22W022951 |  | FA-2E | DISPOSAL NOT WORKING FOOD COMES UP | M9 | SNAKED KITCHEN DRAIN | DOOR TAG | CLOSED
| N | FAMMIS | 22W022942 |  | PHI-246 | TOILET IS CLOGGED | M9 | CLEARED TOILET |  | CLOSED