## Sheet1
extended shift report
Date | Follow up needed Y/N | requested by: | Work Order # | Contacted by: | Location: | Problem: | Responded By: | comments: | Contact/customer you communicated resolution to | Open or Closed
2022-03-10 | n | staff | 22W023382 | famis | CR1000 | sign if falling right side | M9-M10 | found no issue for this area | staff | close
| n | resident | 22W023373 | famis | GM-L126 TR | trash chute is not working | M9-M10 | reset breaker for the trash chute compressor | staff | close
| y | staff | 22W023410 | famis | PH-F109 | leak in the ceiling of the staff room | M9-M10 | hot water return line leaking at the pro-press fitting-place can to catch the water-swept and collected excess water | follow-up | open
| n | resident | 22W023413 | famis | GM-M410 | toilet leaking | M9-M10 | replaced toilet flange bolts and wax ring | resident | close
| y | resident | 22W023409 | famis | GM-B302 | Resident's lock/main apartment door has not been working since Feb 28th. Has came to the GM RSO multiple times for same issue pertaining to key/door not working. | M9-M10 | lubed lock and key-issue is with the residents key is not working the staff GM keys work fine | follow-up | open
| n | staff | 22W023259 | famis | GM-J110 RE | ceiling light is out in the RSO | M9-M10 | replaced ceiling,wall, lights throughout the RSO 20 total | staff | close