## Sheet1
extended shift report
Date | Follow up needed Y/N | requested by: | Work Order # | Contacted by: | Location: | Problem: | Responded By: | Comments: | Contact/customer you communicated resolution to | Open or Closed
2022-03-13 | N | FAMMIS | 22W023573 |  | GMD-404 | TOILET ON CD SIDE CLOGGED | M9 | CLEARED TOILET | RESIDENT | CLOSED
| N | FAMMIS | 22W023557 |  | FA-12A | TOILET HANDLE BROKE OFF | M9 | REPLACED TOILET HANDLE | RESIDENT | CLOSED
| N | FAMMIS | 22W023570 |  | PHH-238 | SHOWER IS CLOGGED AND STARTING TO FLOOD | M9 | SNAKED SHOWER DRAIN REMOVED LARGE HAIR BALL |  | CLOSED
| N | FAMMIS | 22W023580 |  | GMM-429 | TRASH CHUTE DOORS NOT OPENING | M9 | SHUT OFF VALVES TO AIR SYSTEM WERE OFF TURNED THEM BACK ON |  | CLOSED
| N | FAMMIS | 22W023584 |  | GMI-307 | CLOGGED BATH SINK | M9 | CLEARED SINK DRAIN | RESIDENT | CLOSED
| Y |  |  | STEAM PLANT | GMI | RESIDENTS IN I BUILDING REPORTED THEY SMELL GAS | M9 | LEAKED CHECKED ALL ROOF TOP FITTINGS AND GAS METER OUTSIDE BUILDING NO LEAKS FOUND | RA ON DUTY
| N | FAMMIS | 22W023592 |  | GMM-308 | POWER HAS GONE OUT IN ROOMS C AND D | M9 | RESET CIRCUIT BREAKER | RESIDENT | CLOSED
| N | FAMMIS | 22W023593 |  | GMM-308 | NO POWER IN ROOM D | M9 | RESET CIRCUIT BREAKER | RESIDENT | CLOSED