## Sheet1
extended shift report
Date | Follow up needed Y/N | requested by: | Work Order # | Contacted by: | Location: | Problem: | Responded By: | Comments: | Contact/customer you communicated resolution to | Open or Closed
2022-03-16 | N | FAMMIS | 22W024023 |  | FA-14B | NO HOT WATER | M9 | TURENED VALVE ON | RESIDENT | CLOSED
| N | FAMMIS | 22W024053 |  | GMF-206 | CLOGGED TOILET | M9 | CLEARED TOILET | DOOR TAG | CLOSED
| N | GM RSO |  | GM RSO | GMD-307 | FIRE ALARM | M9 | BURNT FOOD
| N | FAMMIS | 22W023749 |  | CDC-105 | TOILET IS LEAKING | M9 | REPLACED WAX RING |  | CLOSED
| N | FAMMIS | 22W024077 |  | BB-GETAWAY | FLOOR DRAINS ARE BACKING UP | M9 | SNAKED FLOOR DRAIN |  | CLOSED
| N | CAMP RSO |  |  | FA LAUNDRY ROOM | LAUNDRY ROOM IS FLOODING | M9 EXT CUST | PICKED UP WATER WASHER WAS LEAKING WATERE THROUGH DOOR