## Sheet1
extended shift report
Date | Follow up needed Y/N | requested by: | Work Order # | Contacted by: | Location: | Problem: | Responded By: | Comments: | Contact/customer you communicated resolution to | Open or Closed
2022-03-22 | N | FAMMIS | 22W024518 |  | FA-1D | CLOG BATH SINK AND SHOWER | M9 | CLEARED BOTH TUB AND SINK DRAIN | DOOR TAG | CLOSED
| N | FAMMIS | 22W024537 |  | FA-14A | DISHWASHER LEAKS WHEN IN USE | M9 | CLEARED DISHWASHER DRAIN,RAN DISHWASHER THROUGH SEVERAL CYCLES RESIDENT USED WRONG DETERGENT CAUSE DISHWASHER TO CREATE LOTS OF SUDS | DOOR TAG | CLOSED
| N | FAMMIS | 22W024579 | EXT SHT | GMJ-105 | LIGHTS OUT BY FIRST FLOOR ELEVATOR ENTRANCE | M9 | REPLACED BURNT BULBS |  | CLOSED
| N | FAMMIS | 22W024580 | EXT SHT | GMJ-105 | HALF THE LIGHTS ARE OUT BY MAILBOX | M9 | REPLACED 4 BURNT BULBS |  | CLOSED
| N | FAMMIS | 22W024581 | EXT SHT | GMA | ALL EXTERIOR LIGHTING IS OUT | M9 | REPROGRAMMED TIMER FOR EXTERIOR LIGHTING |  | CLOSED
| N | FAMMIS | 22W024582 | EXT SHT | GMB | ALL EXTERIOR LIGHTING IS OUT | M9 | REPROGRAMMED TIMER FOR EXTERIOR LIGHTING |  | CLOSED
| N | FAMMIS | 22W024583 | EXT SHT | GMD | ALL EXTERIOR LIGHTING IS OUT | M9 | REPROGRAMMED TIMER FOR EXTERIOR LIGHTING |  | CLOSED
| N | FAMMIS | 22W024584 | EXT SHT | GME | ALL EXTERIOR LIGHTING IS OUT | M9 | REPROGRAMMED TIMER FOR EXTERIOR LIGHTING |  | CLOSED
| N | M1 TRENT |  | EXT SHT | GMA/B/D/E | CHECK BOILERS TO RE ASSURE ALL ARE BACK ONLINE | M9 | INSPECTED ALL BOILERS
| N | M1 TRENT |  | EXT SHT | PH | INSPECT ALL OF PETLAND BOILETS TO CONFIRM ALL ARE BACK ON LINE | M9 | INSPECTED ALL BOILERS