## Sheet1
extended shift report
Date | Follow up needed Y/N | requested by: | Work Order # | Contacted by: | Location: | Problem: | Responded By: | Comments: | Contact/customer you communicated resolution to | Open or Closed
2022-03-27 | N | FAMMIS | 22W024767 |  | GMM-509 | WALL IN KITCHEN BY COUNTERTOP HAS A WATER BUBBLE | M9 | pop bubble leak was coming from upstairs unit 609 made repair | RESIDENT | CLOSED
| N | FAMMIS | 22W024758 |  | GMM-609 | KITCHEN SINK IS LEAKING | M9 | COLD WATER SUPPLY LINE CAME LOOSE CAUSING LEAK REPLACED SUPPLY LINE AND SECURED FAUCET | RESIDENT | CLOSED
| Y | EXT SHT |  |  | GMM-509 | PAINT AND DRYWALL REPAIR | M9 | WALL IN KITCHEN AREA NEEDS TO BE REPAIR AND PAINTED | FOLLOW UP
| N | FAMMIS | 22W024773 | PH-RSO | PHH-106 | KEY WONT OPEN DOOR TO GAME ROOM | M9 | LOCK AND KEY WERE FINE RESIDENT DID NOT TURN KEY COMPLETELY TO UNLOCK DOOR | RESIDENT | CLOSED
| N | FAMMIS | 22W024769 |  | PHL-227 | CLOGGED TOILET | M9 | CLEARED TOILET |  | CLOSED
| N | FAMMIS | 22W024772 |  | GMM-303 | CLOGGED TOILET | M9 | CLEARED TOILET,CONTACTED CUSTODIAL FOR EXTRACTION | RESIDENT | CLOSED
| N | FAMMIS | 22W024759 |  | GMF-207 | TOILET CLOGGED | M9 | REPLACED TOILET FLAPPER | DOOR TAG | CLOSED
| Y | FAMMIS | 22W024779 |  | OB-121 | WATER LEAK | M9 | BATH FAUCET NEEDS STEMS REPLACED BUT ANGLE STOPS ARE BAD NEED TO SCHEDULE A BUILDING WATER SHUT DOWN TO REPLACED ANGLE STOPS | FOLLOW UP | OPEN
| Y | FAMMIS | 22W024783 |  | FA-16E | SOMETHING IS LEAKING UNDER THE KITCHEN CABINET | M9 | RESIDENT REQUESTED AM SERVICE LEAK IS ONLY ACTIVE WHEN SINK IS IN USE | FOLLOW UP | OPEN