## Sheet1
extended shift report
Date | Follow up needed Y/N | requested by: | Work Order # | Contacted by: | Location: | Problem: | Responded By: | Comments: | Contact/customer you communicated resolution to | Open or Closed
2022-03-28 | N | GM RSO |  | GM-RSO | GMF-203 | FIRE ALARM | M9 | BURNT FOOD RESET FIRE PANEL | CONTACTED UCPD
| N | FAMMIS | 22W024431 |  | GM-POOL | FIRE PITS ARE NOT TURNING ON | M9 | TROUBLE SHOOT PITS PARTS ON ORDER
| N | FAMMIS | 22W04921 |  | GME-103 | NO HOT WATER | M9 | RESET WATER HEATER AND THERMOSTAT FOR RETURN PUMP | RESIDENT | CLOSED
| N | FAMMIS | 22W024930 | STEAM PLANT | GMM-303 | TOILET IS OVERFLOWING | M9 | CLEARED TOILET,CONTACTED CUSTODIAL FOR EXTRACTION | RESIDENT | CLOSED
| Y | FAMMIS | 22W024979 | STEAM PLANT | BBR-206 | CEILING IS LEAKING | M9 | LEAK DO TO RAIN PLACED BUCKET AND CLEARED WATER FROM THIRD FLOOR DECK | RESIDENT | CLOSED
| Y | STEAM PL;ANT |  | STEAM PLANT | LOA-412 | WATER LEAK FROM CEILING ABOVE WINDOW | M9 | LEAK DO TO RAIN NEEDS TO BE FOLLOWED UP | RESIDENT
| Y | STEAM PL;ANT |  | STEAM PLANT | LOE-430 | LEAK IN CEILING | M9 | ROOF LEAK DO TO RAIN | RESIDENTS | FOLLOW UP