## Sheet1
extended shift report
Date | Follow up needed Y/N | requested by: | Work Order # | Contacted by: | Location: | Problem: | Responded By: | comments: | Contact/customer you communicated resolution to | Open or Closed
2022-04-01 | n | staff | n/a | radio | LO-E laundry | machine is locked | M10 | reset machine to unlocj | resident | close
| n | resident | 22W025527 | famis | GM-E211 | sink is not draining | M10 | unclogged garbage disposal | resident | close
| n | staff | 22W025518 | famis | CDC1121 | exterior outlet is not working | M10 | reset gfi | staff | close
| n | staff | 22W025501 | famis | CDC104 | toilet is clogged | M10 | unclogged drain | staff | close
| n | resident | 22W025532 | famis | LO-D232 | pilfer guard beeping | M10 | reset the sensor | resident | close
| n | resident | 22W025452 | famis | GM-D303 | sink is not draining | M10 | unclogged kitchen sink drainline | resident | close
| n | staff | 22W025436 | famis | CDC1219 | faucet leaking | M10 | tightened handle | staff | close
| n | staff | 22W025443 | famis | GMH-100 | toilet not flushing | M10 | toilet was flushing all clear | staff | close
| n | staff | 22W025435 | famis | CDC1219 | outside playgroung equipment repair | M10 | repaired loose panel on the set closest to the office and room 1219 | staff | close
| y | resident | 22W025453 | famis | GM-I521 TR | elevator making loud noises | M10 | noises come when the elevator rides from the top floor to the bottom floor- | follow-up | open