## Sheet1
extended shift report
Date | Follow up needed Y/N | requested by: | Work Order # | Contacted by: | Location: | Problem: | Responded By: | Comments: | Contact/customer you communicated resolution to | Open or Closed
2022-04-04 | N | FAMMIS | 22W025632 |  | OB-05 | BATH DOOR LOCKED | M9 | UNLOCKED DOOR | DOOR TAG | CLOSED
| N | FAMMIS | 22W025536 |  | OB-17 | CLOGGED SHOWER | M9 | CLEARED TUB DRAIN | RESIDENT | CLOSED
| N | FAMMIS | 22W025560 |  | BBA-209 | SMOKE DETECTOR KEEEPS BEEPIN | M9 | REPLACED SMOKE DETECTOR | RESIDENT | CLOSED
| N | FAMMIS | 22W025667 |  | GML-306 | CLOGGED TOILET | M9 | CLEARED TOILET | RESIDENT | CLOSED
| N | FAMMIS | 22W025012 |  | CDC-1219 | FAUCET IN BATHROOM IS LEAKING | M9 | REPLACED FAUCET STEMS ON BOTH FAUCETSA HOT SIDE |  | CLOSED
| N | EXT SHT |  | M1 TRENT | CDC-1212 | BURNT LIGHT BULB | M9 | REPLACED BURNT BULB
| Y | FAMMIS | 22W025728 |  | LOB-418 | WATER BUBBLE ABOVE BED | M9 | NO ACTIVE LEAK WATER LEAK FROM RAIN NEEDS PAINT REPAIR | FOLLOW UP
| Y | FAMMIS | 22W025731 |  | OB-103 | WATER LEAKING BY FRONT DOOR AND SINK | M9 | NO ANSWER AT DOOR LOOKED AROUND OUTSIDE OF UNIT NO SIGNS OF WATER | FOLLOW UP