## Sheet1
extended shift report
Date | Follow up needed Y/N | requested by: | Work Order # | Contacted by: | Location: | Problem: | Responded By: | comments: | Contact/customer you communicated resolution to | Open or Closed
2022-04-07 | n | staff | 22W026157 | famis | BB-N101 | exterior lights out | M9-M10 | reset breaker | staff | close
| n | staff | 22W026153 | famis | BBG=106 | lock is not working | M9-M10 | tightened deadbolt | staff | close
| n | staff | 22W026095 | famis | CDC-N1117 | light out over the sink | M9-M10 | replaced light | staff | close
| n | staff | 22W026131 | famis | CDC-N1117 | high water pressure in the sink | M9-M10 | unclogged aerator | staff | close
| n | resident | 22W026154 | famis | FA-12Q-B B | toilet is not flushing | M9-M10 | replaced fill valve | resident | close
| n | resident | 22W026087 | famis | FA-12Q-A B | tub is clogged | M9-M10 | unclogged drainline | resident | close
| n | staff | 22W026155 | famis | GM-H100-A | toilet paper dispenser broken | M9-M10 | replaced dispenser | staff | close
| n | resident | 22W026156 | famis | GM-I303 | toilet clogged | M9-M10 | closet augered toilet | resident | close
| n | resident | 22W026145 | famis | GM-I303 | toilet is running | M9-M10 | replaced flapper and fill valve | resident | close
| y | resident | 22W014890 | famis | BB-E305 | leak by the ac unit | M9-M10 | drain pan is leaking and rusted | follow-up | open
| y | staff | 22W025777 | famis | GM-J110 RE | he transition was previously glued down since it had come up. The fix caused for the transition to remain lifted causing a trip hazard. | M9-M10 | transition strip is bent needs replacing | follow-up | open
| y | resident | 22W026107 | famis | OB-066 | ac is out | M9-M10 | placed portable ac unit | follow-up | open