## Sheet1
extended shift report
Date | Follow up needed Y/N | requested by: | Work Order # | Contacted by: | Location: | Problem: | Responded By: | comments: | Contact/customer you communicated resolution to | Open or Closed
2022-04-29 | n | resident | 22W028231 | famis | GM-A302 | kitchen sink backed up and flooding | M9-M10 | snaked drainline to unclog | resident | close
| n | resident | 22W028228 | famis | PH-K160 | water pockets and leaks in the hall | M9-M10 | previous leak damage in the hall from the lounge to PHK-1 dorms all dry | staff | close
| n | staff | 22W028229 | famis | AI-D100 | broken entry door handle to DE wing | M9-M10 | repaired handle panic bar set screw fell out | staff | close
| n | staff | 22W028233 | famis | AI-A217 | toilets flooding in the restroom | M9-M10 | snaked floor drains to unclog | staff | close
| n | resident | 22W028212 | famis | GM-D408 | clogged toilet | M9-M10 | closet augered to clear | resident | close
| n | resident | 22W028204 | famis | FA-01A | lights are flickering | M9-M10 | replaced entry light | resident | close
| n | staff | 22W028096 | famis | GM-M528 EL | hallwayy entry light out | M9-M10 | replaced lights | staff | close