## Sheet1
extended shift report
Date | Follow up needed Y/N | requested by: | Work Order # | Contacted by: | Location: | Problem: | Responded By: | Comments: | Contact/customer you communicated resolution to | Open or Closed
2022-05-01 | Y | FAMMIS | 22W028393 | M1 TRENT | FA-1R | OUTLETS NOT WORKING,VANITY LIGHT FLICKERS ON/OFF | M9 | STARTED TO TROUBLE SHOOT PLUGS AND LIGHTS CIRCUIT BREAKER FOR THAT ROOM WAS ONLY GIVING 30AMP RESTORED FUL POWER TO THE BEDROOM BUT STILL HAVE AN ISSUE WITH PANEL | RESIDENT | FOLLOW UP
| N | FAMMIS | 22W028402 | STEAM PLANT | PL-53 | TOILET IS OVERFLOWING FLOODING OUT BATHROOM AND HALLWAY | M9 | CLEARED TOILET CONTACTED EXT CUST TO EXTRACT WATER | RESIDENT
| N | FAMMIS | 22W028392 |  | GMI-302 | CLOGGED TOILET | M9 | CLEARED TOILET CONTACTED EXT CUST TO EXTRACT WATER | RESIDENT | CLOSED
| N | FAMMIS | 22W028401 |  | PL-53 | CLOGGED TOILET | M9 | CLEARED TOILET ON AB SIDE | RESIDENT | CLOSED
| Y | EXT SHT |  |  | FA-1R | AC NOT WORKING | M9 | AC NNOT COMING ON AT ALL | FOLLOW UP
| Y | FAMMIS | 22W028412 |  | GMG-105 | CARPET IS WETIN THE HALL OUTSIDE APT G-105 | M9,CUST | COULD NOT FIND SOURCE OF LEAK EXTRACTED CARPET | FOLLOW UP