## Sheet1
extended shift report
Date | Follow up needed Y/N | requested by: | Work Order # | Contacted by: | Location: | Problem: | Responded By: | comments: | Contact/customer you communicated resolution to | Open or Closed
2022-05-06 | n | resident | 22W028959 | famis | GM-L301 | toilet is not flushing | M10 | replaced flapper and handle | resident | close
| n | resident | 22W028931 | famis | GM-E407 | clogged tub | M10 | unclogged drainline | resident | close
| n | resident | 22W028941 | famis | GM-L408 | dishwasher leaked in all over the floor | M10 | resident used incorrect soap-suds all over the floor ran and drained dishwasher | resident | close
| n | resident | 22W028955 | famis | GM-L210 | hallway light out | M10 | replaced entry light | resident | close
| n | resident | 22W028788 | famis | GM-I301 | clogged tub | M10 | unclogged drainline | resident | close
| n | resident | 22W028721 | famis | GM-I301 | clogged sink | M10 | unclogged drainline | resident | close
| y | resident | 22W028958 | famis | FA-12-GROU | leak by parking lot closest to unit 12H | M10 | leak is coming from the water line on the backflow in the hedges- | follow-up | open
| y | resident | 22W028938 | famis | GM-E106 | wet carpet in closet room b | M10 | shower valve needs to be replaced | follow-up | open
| y | resident | 22W028934 | famis | BB-G303 | leaking shower | M10 | catridge replacement needed | follow-up | open