## Sheet1
extended shift report
Date | Follow up needed Y/N | requested by: | Work Order # | Contacted by: | Location: | Problem: | Responded By: | comments: | Contact/customer you communicated resolution to | Open or Closed
2022-05-09 | n | resident | 22W028815 | famis | OB-067 | front exterior light out | M9-M10 | replaced exterior entry light | resident | close
| n | resident | 22W028839 | famis | GM-I302 | clogged shower | M9-M10 | unclogged tub drainline | resident | close
| n | resident | 22W029105 | famis | GM-E202 | freezer is not working | M9-M10 | reset timer-cleaned fan coil | resident | close
| n | staff | n/a | staff | CDC-storage | storeroom light out | M9-M10 | replaced lights | staff | close
| n | staff | 22W029107 | famis | CDC1121 | water fountain leaking | M9-M10 | replaced nut and compression gasket | staff | close
| n | staff | 22W029106 | famis | CDC1127 | exterior sink leaking | M9-M10 | replaced supply lines | staff | close
| n | staff | 22W029109 | famis | CDC1121 | exterior sink leaking | M9-M10 | replaced supply lines | staff | close
| n | resident | 22W029026 | famis | FA-07B-BAT | bathroom light out | M9-M10 | replaced lights | resident | close
| n | resident | 22W029141 | famis | GM-M310 | no power | M9-M10 | reset breaker | resident | close
| n | resident | 22W029142 | famis | GM-D100-ME | elevator is not working | M9-M10 | checked cart is moving to all floors and buttons lighting up | staff | close
| y | resident | 22W029121 | famis | FA-06Q-KIT | fridge is not cooling | M9-M10 | reset timer second timer this week-please inspect in am | follow-up | open
| n | M1 | n/a | radio | GML-pool | inspect pool- | M9-M10 | checked chlorine-refilled in the evening no longer in alarm | staff | close